## Instructions
Nutrient & Energy Assessment Tool - Wastewater Optimization Version 3.0 beta (March 2019)
ABOUT THIS TOOL: This tool is intended to help wastewater operators track changes in energy usage, treatment costs, and nutrient discharge resulting from efforts to optimize their facilities. It calculates savings and displays them on summary charts, and plots related data to help identify trends. This information can be used to evaluate optimization efforts and identify further opportunities. A video tutorial for using this tool is available at https://youtu.be/CK7IUl5F8gM
Energy Data Entry
1) Enter some background information about the facility and the name and contact information for your energy providers 2) Select a month from which to measure progress and enter it into the "Beginning of Monitoring Period." This will adjust the "month" column across all sheets in the tool and determine how savings are calculated. For example, if optimization efforts began in late July 2017, it may be prudent to select August 2017 as the beginning of the monitoring period. Be mindful that if this date is adjusted after entering process or energy data, that data will no longer match the appropriate months and will need to be adjusted accordingly. 3) Enter electric billing data for each electric meter you wish to track. Up to five meters can be tracked. For usability, electric meters 2-5 can be shown or hidden by clicking the appropriate buttons. Depending on your computer settings, it may be necessary to "enable content" to allow the buttons to function. If significant natural gas is used at the facility, consider entering gas usage data in Columns AD-AG. 4) Not all electric bills will have all components listed on the data entry page. Usage (kWh) and total cost ($) are required for the tool to work properly. The other fields are optional but will activate additional features and can be useful in identifying further opportunities. It may be necessary to contact the electric power provider to obtain usage and demand information if it is not listed on the bill. 5) It is common that electrical billing dates do not align with a calendar month. If this is the case, simply assign the bill to the month that makes the most sense and be consistent going forward. For example, if the billing dates are July 20th - August 19th, it is prudent to assign that bill to August. Any inaccuracies due to misalignment will ultimately average out since energy savings are calculated on an annual basis. 6) For best results, once energy data is up to date, continue to the process data entry sheet and enter flow and BOD data for any months that have energy data.
Process Data Entry
1) Enter the available process data for the appropriate months. It is best to ensure that any month with process data also has energy data, and vice versa. 2) Flow and BOD data will be used with the information on the Energy Data Entry sheet to track energy efficiency (kWh/MG and kWh/lb BOD), cost efficiency ($/MG and $/lb BOD), and savings (kWh/year and $/year). 3) Nitrogen and phosphorus data will be used to estimate nutrient removal provided sufficient data is available. For phosphorus, the tool needs flow, influent and effluent TP concentrations to calculate removal. If any of those three parameters are missing for a given month, that month will not count towards the total. For nitrogen, the tool needs influent TKN, effluent nitrate + nitrite, and either effluent TKN or effluent ammonia to work properly. Most facilities do not have significant influent nitrate or nitrite, but if that is the case, be sure to include it. In order to estimate removal on an annual basis, the above data needs to be entered at least quarterly.
Summary Tables and Charts
The remaining sheets display calculated savings and trends based on the data entered: Flow-based Summary: This table summarizes energy usage, energy costs, and flow treated for each year of the monitoring period. It also compares performance relative to the baseline data. Savings for each monitoring year are calculated by using the baseline kWh/MG (or $/MG) to estimate the energy (or cost) the plant would have required to treat the volume treated during that year, and comparing that value to the actual energy used. BOD-based Summary: This table functions similarly as the 'Flow-based Summary' but uses the quantity of BOD removed as the basis for comparison. Plants that have a significant amount of infiltration/inflow may find this a more reasonable basis of comparison. Nutrient Removal Summary: This table summarizes nutrient removal performance based on data from the 'Process Data Entry' sheet. Influent, effluent and % removal values are calculated from all availalble values. Mass removal values are calculated using only months which meet the criteria described in the 'Process Data Entry' section above. TN and TP removal: These charts display annual trends in influent and effluent nutrients, and overall removal. Baseline data is shaded. Flow and BOD Efficiency: These charts display annual trends in kWh/MG and kWh/lb BOD. Baseline data is shaded.
Troubleshooting
The Tool may display odd data, or it may unexpectedly display blanks. In these cases it may be helpful to check the following: 1) If process data has been entered for a month, ensure corresponding energy data has been entered, and vice versa. If data is missing and unavailable, either enter a reasonable estimate or delete the rest of the data for that month. 2) If the plant uses more than one electric meter, ensure that all meters have data entered for the appropriate months. 3) Ensure that nutrient data meets the criteria described in the 'Process Data Entry' section above, and that any month with nutrient data has a corresponding average daily flow. 4) If the issue is not resolved, try re-entering the data in a fresh copy of the tool, and a formula may have inadvertently been edited. 5) If none of the above resolve the issue, please use the contact information below to ask for help.
The pages in this Tool are protected to minimize accidental changes in the formulas or charts. Each sheet can be unprotected under the "Review" tab. Additionally, some sheets have been hidden to improve usability. To unhide hidden sheets, right-click on any sheet title and select "Unhide..." Editing these sheets is discouraged as it could cause issues elsewhere in the Tool.
Questions? Please contact Brendan Held at (404) 562-8018 or held.brendan@epa.gov

## Energy Data Entry
R4 Energy Assessment Tool for Water & Wastewater Facilities - EPA Region 4 Yellow-shaded cells indicate data entry fields
ENTER PLANT NAME AND BRIEF DESCRIPTION OF PROCESSES: Design flow, Anoxic zones, Biosolids Processes, Activated Sludge Process, Fine/Coarse Bubble, etc.
Name of Facility:
Major Unit Processes:
Beginning of Monitoring Period (MM/YYYY) |  | 2019-08-01 | Ideally 24 months of baseline data is available prior to this date. Progress is measured beginning with this month.
ENERGY DATA PROVIDER:
PHONE/EMAIL:
Electric Meters: 1. Enter the Meter Number if shown and a Description: Whole Plant, Aeration, Pumping, Etc. 2. Enter the Monthly Usage: (kWh) for each meter. 3. Enter the Monthly Total Cost: The total charge for that meter, inclusive of demand charges, fees, taxes, etc. 4. If available, enter the "Actual" and "Billed" Demand in kW under the appropriate columns. (Optional) 5. If available, enter the Demand Charge as shown on the bill, under the "Demand Cost" column. (Optional) 6. If you have additional meters, click the appropriate "Show Meter" button to input additional data. Click "Hide Meter" to hide. 7. If there is significant natural gas use at the plant (e.g., for heating digesters or drying biosolids), use the gas meter table on the far right to enter the appropriate data.
GAS METER: Enter Monthly Gas Usage as ccf or Therms (1 ccf = 100 cu ft = 1 Therm)
| METER 1 |  |  |  |  | METER 2 |  |  |  |  | METER 3 |  |  |  |  | METER 4 |  |  |  |  | METER 5 |  |  |  |  | Enter Monthly Gas Usage as ccf or Therms: (1 ccf = 100 cu ft = 1 Therm)
| Equipment on this Meter: |  |  |  |  | Equipment on this Meter: |  |  |  |  | Equipment on this Meter: |  |  |  |  | Equipment on this Meter: |  |  |  |  | Equipment on this Meter: |  |  |  |  | For Multiple Gas Meters - Sum and Enter Totals
MONTH (Auto-filled) | MONTHLY ELECTRIC USE (kWh) | TOTAL ELECTRIC BILL (incl. demand, taxes, etc.) ($) | Actual kW Demand (if available) | Billed kW Demand (if available) | DEMAND COST (If known, else leave blank) | MONTHLY kWh used #2 | Total Electric Bill (incl. demand, taxes, etc.) ($) #2 | Actual kW Demand #2 (if available) | Billed kW Demand #2 (if available) | DEMAND COST #2 (if known, else leave blank) | MONTHLY kWh used #3 | Total Electric Bill (incl. demand, taxes, etc.) ($) #3 | Actual kW Demand #3 (if available) | Billed kW Demand #3 (if available) | DEMAND COST #3 (if known, else leave blank) | MONTHLY kWh used #4 | Total Electric Bill (incl. demand, taxes, etc.) ($) #4 | Actual kW Demand #4 (if available) | Billed kW Demand #4 (if available) | DEMAND COST #4 (if known, else leave blank) | MONTHLY kWh used #5 | Total Electric Bill (incl. demand, taxes, etc.) ($) #5 | Actual kW Demand #5 (if available) | Billed kW Demand #5 (if available) | DEMAND COST #5 (if known, else leave blank) | MONTH | Gas usage (ccf or therms) | Total gas cost ($) | Gas energy usage in kWh
2017-08-01 | [25 empty] | 2017-08-01 | 0 |  | 0
2017-09-01 | [25 empty] | 2017-09-01 | 0 |  | 0
2017-10-01 | [25 empty] | 2017-10-01 | 0 |  | 0
2017-11-01 | [25 empty] | 2017-11-01 | 0 |  | 0
2017-12-01 | [25 empty] | 2017-12-01 | 0 |  | 0
2018-01-01 | [25 empty] | 2018-01-01 | 0 |  | 0
2018-02-01 | [25 empty] | 2018-02-01 | 0 |  | 0
2018-03-01 | [25 empty] | 2018-03-01 | 0 |  | 0
2018-04-01 | [25 empty] | 2018-04-01 | 0 |  | 0
2018-05-01 | [25 empty] | 2018-05-01 | 0 |  | 0
2018-06-01 | [25 empty] | 2018-06-01 | 0 |  | 0
2018-07-01 | [25 empty] | 2018-07-01 | 0 |  | 0
2018-08-01 | [25 empty] | 2018-08-01 | 0 |  | 0
2018-09-01 | [25 empty] | 2018-09-01 | 0 |  | 0
2018-10-01 | [25 empty] | 2018-10-01 | 0 |  | 0
2018-11-01 | [25 empty] | 2018-11-01 | 0 |  | 0
2018-12-01 | [25 empty] | 2018-12-01 | 0 |  | 0
2019-01-01 | [25 empty] | 2019-01-01 | 0 |  | 0
2019-02-01 | [25 empty] | 2019-02-01 | 0 |  | 0
2019-03-01 | [25 empty] | 2019-03-01 | 0 |  | 0
2019-04-01 | [25 empty] | 2019-04-01 | 0 |  | 0
2019-05-01 | [25 empty] | 2019-05-01 | 0 |  | 0
2019-06-01 | [25 empty] | 2019-06-01 | 0 |  | 0
2019-07-01 | [25 empty] | 2019-07-01 | 0 |  | 0
2019-08-01 | [25 empty] | 2019-08-01 | 0 |  | 0
2019-09-01 | [25 empty] | 2019-09-01 | 0 |  | 0
2019-10-01 | [25 empty] | 2019-10-01 | 0 |  | 0
2019-11-01 | [25 empty] | 2019-11-01 | 0 |  | 0
2019-12-01 | [25 empty] | 2019-12-01 | 0 |  | 0
2020-01-01 | [25 empty] | 2020-01-01 | 0 |  | 0
2020-02-01 | [25 empty] | 2020-02-01 | 0 |  | 0
2020-03-01 | [25 empty] | 2020-03-01 | 0 |  | 0
2020-04-01 | [25 empty] | 2020-04-01 | 0 |  | 0
2020-05-01 | [25 empty] | 2020-05-01 | 0 |  | 0
2020-06-01 | [25 empty] | 2020-06-01 | 0 |  | 0
2020-07-01 | [25 empty] | 2020-07-01 | 0 |  | 0
2020-08-01 | [25 empty] | 2020-08-01 | 0 |  | 0
2020-09-01 | [25 empty] | 2020-09-01 | 0 |  | 0
2020-10-01 | [25 empty] | 2020-10-01 | 0 |  | 0
2020-11-01 | [25 empty] | 2020-11-01 | 0 |  | 0
2020-12-01 | [25 empty] | 2020-12-01 | 0 |  | 0
2021-01-01 | [25 empty] | 2021-01-01 | 0 |  | 0
2021-02-01 | [25 empty] | 2021-02-01 | 0 |  | 0
2021-03-01 | [25 empty] | 2021-03-01 | 0 |  | 0
2021-04-01 | [25 empty] | 2021-04-01 | 0 |  | 0
2021-05-01 | [25 empty] | 2021-05-01 | 0 |  | 0
2021-06-01 | [25 empty] | 2021-06-01 | 0 |  | 0
2021-07-01 | [25 empty] | 2021-07-01 | 0 |  | 0
2021-08-01 | [25 empty] | 2021-08-01 | 0 |  | 0
2021-09-01 | [25 empty] | 2021-09-01 | 0 |  | 0
2021-10-01 | [25 empty] | 2021-10-01 | 0 |  | 0
2021-11-01 | [25 empty] | 2021-11-01 | 0 |  | 0
2021-12-01 | [25 empty] | 2021-12-01 | 0 |  | 0
2022-01-01 | [25 empty] | 2022-01-01 | 0 |  | 0
2022-02-01 | [25 empty] | 2022-02-01 | 0 |  | 0
2022-03-01 | [25 empty] | 2022-03-01 | 0 |  | 0
2022-04-01 | [25 empty] | 2022-04-01 | 0 |  | 0
2022-05-01 | [25 empty] | 2022-05-01 | 0 |  | 0
2022-06-01 | [25 empty] | 2022-06-01 | 0 |  | 0
2022-07-01 | [25 empty] | 2022-07-01 | 0 |  | 0
2022-08-01 | [25 empty] | 2022-08-01 | 0 |  | 0
2022-09-01 | [25 empty] | 2022-09-01 | 0 |  | 0
2022-10-01 | [25 empty] | 2022-10-01 | 0 |  | 0
2022-11-01 | [25 empty] | 2022-11-01 | 0 |  | 0
2022-12-01 | [25 empty] | 2022-12-01 | 0 |  | 0
2023-01-01 | [25 empty] | 2023-01-01 | 0 |  | 0
2023-02-01 | [25 empty] | 2023-02-01 | 0 |  | 0
2023-03-01 | [25 empty] | 2023-03-01 | 0 |  | 0
2023-04-01 | [25 empty] | 2023-04-01 | 0 |  | 0
2023-05-01 | [25 empty] | 2023-05-01 | 0 |  | 0
2023-06-01 | [25 empty] | 2023-06-01 | 0 |  | 0
2023-07-01 | [25 empty] | 2023-07-01 | 0 |  | 0
2023-08-01 | [25 empty] | 2023-08-01 | 0 |  | 0
2023-09-01 | [25 empty] | 2023-09-01 | 0 |  | 0
2023-10-01 | [25 empty] | 2023-10-01 | 0 |  | 0
2023-11-01 | [25 empty] | 2023-11-01 | 0 |  | 0
2023-12-01 | [25 empty] | 2023-12-01 | 0 |  | 0
2024-01-01 | [25 empty] | 2024-01-01 | 0 |  | 0
2024-02-01 | [25 empty] | 2024-02-01 | 0 |  | 0
2024-03-01 | [25 empty] | 2024-03-01 | 0 |  | 0
2024-04-01 | [25 empty] | 2024-04-01 | 0 |  | 0
2024-05-01 | [25 empty] | 2024-05-01 | 0 |  | 0
2024-06-01 | [25 empty] | 2024-06-01 | 0 |  | 0
2024-07-01 | [25 empty] | 2024-07-01 | 0 |  | 0
Formulas:
MONTH (Auto-filled) = DATE(YEAR([MONTH (Auto-filled), row below]),MONTH([MONTH (Auto-filled), row below])-1,DAY([MONTH (Auto-filled), row below]))
MONTH (Auto-filled) = DATE(YEAR([MONTH (Auto-filled), row above]),MONTH([MONTH (Auto-filled), row above])+1,DAY([MONTH (Auto-filled), row above]))

## Process Data Entry
MONTH (Auto-filled) | Avg Daily Flow (MGD) | Avg Influent CBOD (mg/L) | Avg Effluent CBOD (mg/L) | CBOD removal (lbs/d) | Avg influent TKN (mg/L) | Avg influent NH3 (mg/L) | Avg influent NOx (mg/L) | Avg effluent TKN (mg/L) | Avg effluent NH3 (mg/L) | Avg effluent NOx (mg/L) | Avg influent TP (mg/L) | Avg effluent TP (mg/L)
2017-08-01
2017-09-01
2017-10-01
2017-11-01
2017-12-01
2018-01-01
2018-02-01
2018-03-01
2018-04-01
2018-05-01
2018-06-01
2018-07-01
2018-08-01
2018-09-01
2018-10-01
2018-11-01
2018-12-01
2019-01-01
2019-02-01
2019-03-01
2019-04-01
2019-05-01
2019-06-01
2019-07-01
2019-08-01
2019-09-01
2019-10-01
2019-11-01
2019-12-01
2020-01-01
2020-02-01
2020-03-01
2020-04-01
2020-05-01
2020-06-01
2020-07-01
2020-08-01
2020-09-01
2020-10-01
2020-11-01
2020-12-01
2021-01-01
2021-02-01
2021-03-01
2021-04-01
2021-05-01
2021-06-01
2021-07-01
2021-08-01
2021-09-01
2021-10-01
2021-11-01
2021-12-01
2022-01-01
2022-02-01
2022-03-01
2022-04-01
2022-05-01
2022-06-01
2022-07-01
2022-08-01
2022-09-01
2022-10-01
2022-11-01
2022-12-01
2023-01-01
2023-02-01
2023-03-01
2023-04-01
2023-05-01
2023-06-01
2023-07-01
2023-08-01
2023-09-01
2023-10-01
2023-11-01
2023-12-01
2024-01-01
2024-02-01
2024-03-01
2024-04-01
2024-05-01
2024-06-01
2024-07-01
Note on F5: Calculated automatically. Unlock sheet and overwrite with DMR values if available.
Note on G5: Recommended for process control sampling, even if not required to report.
Note on I5: This will be near zero for most domestic plants

## Flow-based Summary
Flow-based Energy and Cost Savings
| Baseline: Aug 2017 - Jul 2019 | Aug 2019 - Jul 2020 | Aug 2020 - Jul 2021 (to date) | Aug 2021 - Jul 2022 | Aug 2022 - Jul 2023 | Aug 2023 - Jul 2024 | Cumulative Change
Avg energy usage (kWh/month)
% change from baseline | N/A
Average Daily Flow (MGD)
% change from baseline | N/A
Energy Efficiency (kWh/MG)
% change from baseline | N/A
Monthly Energy Cost ($/month)
% change from baseline | N/A
Energy Cost Efficiency ($/MG)
% change from baseline | N/A
Cost of Electriciity ($/kWh)
% change from baseline | N/A
Avg Billed Electric Demand (kW)
% change from baseline | N/A
Cumulative Savings
Energy Savings (kWh) | N/A
Energy Cost Savings | N/A

## BOD-based Summary
BOD-based Energy and Cost Savings
| Baseline: Aug 2017 - Jul 2019 | Aug 2019 - Jul 2020 | Aug 2020 - Jul 2021 (to date) | Aug 2021 - Jul 2022 | Aug 2022 - Jul 2023 | Aug 2023 - Jul 2024 | Cumulative Change
Avg energy usage (kWh/month)
% change from baseline | N/A
Average BOD removal (lbs/d)
% change from baseline | N/A
Energy Efficiency (kWh/lb BOD)
% change from baseline | N/A
Monthly Energy Cost ($/month)
% change from baseline | N/A
Energy Cost Efficiency ($/lb BOD)
% change from baseline | N/A
Cost of Electriciity ($/kWh)
% change from baseline | N/A
Avg kW demand
% change from baseline | N/A
Cumulative Savings
Energy Savings | N/A
Energy Cost Savings | N/A

## Nutrient Removal Summary
Nutrient Removal Summary
| Baseline: Aug 2017 - Jul 2019 | Aug 2019 - Jul 2020 | Aug 2020 - Jul 2021 (to date) | Aug 2021 - Jul 2022 | Aug 2022 - Jul 2023 | Aug 2023 - Jul 2024 | Cumulative Change
Avg Influent TN (mg/L)
% change from baseline | N/A
Avg Effluent TKN (mg/L)
% change from baseline | N/A
Avg Effluent NO3+NO2 (mg/L)
% change from baseline | N/A
Avg TN removal (%)
Avg TN removal (lbs/mo)
Avg Influent TP (mg/L)
% change from baseline | N/A
Avg Effluent TP (mg/L)
% change from baseline | N/A
Avg TP removed (%)
Avg TP removed (lbs/mo)
Approx. Additional Removal (lbs)
Improvement in % TN removal (%) | N/A | [5 empty] | 0
Improvement in % TP removal (%) | N/A | [5 empty] | 0

## Calculation Notes (hidden)
Flow efficiency:
1) Total energy used is the sum all electric meters and the kWh-eq of the gas meter for a given month.
2) Monthly flow is the average daily flow multiplied by the number of days in that month.
3) If both total energy and total flow are populated, an average kWh/MG for that month is calculated, and the kWh and MG treated for that month count toward the yearly average. However, if (for example) a month has kWh data but not MG data, the kWh used in that month will not be included in the calculation of the annual averge kWh/MG.
4) The average kWh/MG for a given 12-month period is the total "counted" kWh divided by the total "counted" MG. (Averaging kWh/MG values is not mathematically accurate.)
5) $/MG is calculated in an analogous manner.
BOD efficiency:
1) Total energy usage is calculated as described above.
2) BOD removal in a given month is calculated from the monthly flow, influent BOD and effluent BOD. If one of those three values is missing, BOD removal is not calculated for that month.
3) If BOD removal and total energy usage are both populated, an average kWh/lb BOD is calculated for that month, and both the kWh and BOD removal count toward the yearly average. If either value is missing, the other value does not count toward the total for that year.
4) The average kWh/lb BOD for a year is the total counted kWh divided by the total counted MG.
5) $/lb BOD is calculated in an analogous manner.
Effluent Total Nitrogen:
1) The graph will display NO2+NO3 and either NH3 or TKN, depending on which parameter (TKN or NH3) has more effluent data associated with it. That is, if NH3 has monthly values and TKN has quarterly values, the graph will automatically display NH3.
2) The values displayed on the graph use all available data to calculate the average for a year, regardless if the data in a given month has corresponding influent data sufficient to estimate nitrogen removal.
Nitrogen Removal:
1) For a given month, nitrogen removal will only be estimated if flow, influent TKN, effluent NO3+NO2, and either effluent NH3 or effluent TKN are populated. (Effluent TKN is preferred for accuracy, but because not all facilities routinely monitor it, the tool will estimate removal based on NH3 if necessary.)
2) Annual averages of nitrogen removal (lbs/mo) are calculated based on an average of all months within the year that had sufficient data to estimate nitrogen removal. If data is available less than quarterly, the annual estimate will not be calculated and an "insufficient data" error will be displayed.
Phosporus Removal:
1) Influent TP, Effluent TP and flow are required to calculate average removal for a given month.
2) Annual averages are based on calculated monthly removal when sufficient data is available at least quarterly.
=========
Note to self: check above to ensure it is still accurate
Nutrient summary:
Influent and effluent values (mg/L) are averages of all available values during the relevant time periods
Removal (lbs/mo) is an average of all months within a time period that meet match criteria (see above)
Change in removal compared to baseline is calculated as follows: 1) Multiply average removal (lbs/mo) by # of months with reported flow to obtain total removal for that time period. Difference is reported between the baseline and each year thereafter. For the current year, the total displayed is to-date (not an annual projection).

## Background Calculations (hidden)
Year | Column2 | Avg Daily Flow | Monthly Flow | BOD removed | Total BOD removed | Electric kWh usage | Gas kWh usage | Total Energy Usage | Flow Efficiency | BOD efficiency | Total Electric Demand (Actual) | Total Electric Demand (Billed) | Electric Demand Cost | Total electric cost | Total Gas cost | Avg $/kWh | Avg $/kW demand | Total Energy Cost | Column6 | Energy Cost per Volume Treated | Energy Cost per lb BOD | Column7 | Avg influent TKN | Avg influent NH3 | Avg influent NOx | Avg effluent TKN | Avg effluent NH3 | Avg effluent NOx | Approx TN removal (mg/L) | Approx TN removal (lbs) | Avg influent TP | Avg effluent TP | Calculated TP removal (lbs)
1 | 2017-08-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
1 | 2017-09-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
1 | 2017-10-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
1 | 2017-11-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
1 | 2017-12-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
1 | 2018-01-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
1 | 2018-02-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
1 | 2018-03-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
1 | 2018-04-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
1 | 2018-05-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
1 | 2018-06-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
1 | 2018-07-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2018-08-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2018-09-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2018-10-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2018-11-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2018-12-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2019-01-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2019-02-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2019-03-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2019-04-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2019-05-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2019-06-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
2 | 2019-07-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2019-08-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2019-09-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2019-10-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2019-11-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2019-12-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2020-01-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2020-02-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2020-03-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2020-04-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2020-05-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2020-06-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
3 | 2020-07-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2020-08-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2020-09-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2020-10-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2020-11-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2020-12-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2021-01-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2021-02-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2021-03-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2021-04-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2021-05-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2021-06-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
4 | 2021-07-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2021-08-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2021-09-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2021-10-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2021-11-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2021-12-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2022-01-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2022-02-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2022-03-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2022-04-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2022-05-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2022-06-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
5 | 2022-07-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2022-08-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2022-09-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2022-10-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2022-11-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2022-12-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2023-01-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2023-02-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2023-03-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2023-04-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2023-05-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2023-06-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
6 | 2023-07-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2023-08-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2023-09-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2023-10-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2023-11-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2023-12-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2024-01-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2024-02-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2024-03-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2024-04-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2024-05-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2024-06-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
7 | 2024-07-01 | [5 empty] | 0 | [7 empty] | 0 | [9 empty] | 0
[5 empty] | Summary of Flow efficiency calculations | [17 empty] | Avg Nitrogen Effluent, by species (mg/L-N)
|  | Labels | Avg Daily Flow | Annual Flow Treated | Counted Flow | Counted Energy | Avg kWh/MG | Months Reporting | [13 empty] | Year |  | TKN (mg/L) | NH3 (mg/L) | NO3+ NO2 (mg/L) | TKN (mg/L) | Approx. TN removal (mg/L) | Approx. TN removal (lbs/mo)
| Year |  | MGD | MG | [17 empty] | 1 | Aug 2017 - Jul 2018
| 1 | Aug 2017 - Jul 2018 |  | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 2 | Aug 2018 - Jul 2019
| 2 | Aug 2018 - Jul 2019 |  | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 3 | Aug 2019 - Jul 2020
| 3 | Aug 2019 - Jul 2020 |  | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 4 | Aug 2020 - Jul 2021
| 4 | Aug 2020 - Jul 2021 |  | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 5 | Aug 2021 - Jul 2022
| 5 | Aug 2021 - Jul 2022 |  | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 6 | Aug 2022 - Jul 2023
| 6 | Aug 2022 - Jul 2023 |  | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 7 | Aug 2023 - Jul 2024
| 7 | Aug 2023 - Jul 2024 |  | 0 | 0 | 0 | #DIV/0! | 0
Summary of BOD efficiency calculations
|  | Labels | Avg BOD removal | Total BOD removal | Counted BOD removal | Counted Energy | Avg kWh/lb BOD removed | Months Reporting | [13 empty] | Year | Year | Avg TP influent | Avg TP effluent | Approx. TP removal (mg/L) | Approx TP removal (lbs/year) | Avg TP removal (lbs/mo)
| Year |  | lbs/d | lbs | lbs | kWh-eq | [15 empty] | 1 | Aug 2017 - Jul 2018 |  |  | Insufficient Data | Insufficient Data
| 1 | Aug 2017 - Jul 2018 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 2 | Aug 2018 - Jul 2019 |  |  | Insufficient Data | Insufficient Data
| 2 | Aug 2018 - Jul 2019 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 3 | Aug 2019 - Jul 2020 |  |  | Insufficient Data | Insufficient Data
| 3 | Aug 2019 - Jul 2020 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 4 | Aug 2020 - Jul 2021 |  |  | Insufficient Data | Insufficient Data
| 4 | Aug 2020 - Jul 2021 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 5 | Aug 2021 - Jul 2022 |  |  | Insufficient Data | Insufficient Data
| 5 | Aug 2021 - Jul 2022 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 6 | Aug 2022 - Jul 2023 |  |  | Insufficient Data | Insufficient Data
| 6 | Aug 2022 - Jul 2023 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | [13 empty] | 7 | Aug 2023 - Jul 2024 |  |  | Insufficient Data | Insufficient Data
| 7 | Aug 2023 - Jul 2024 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0
Summary of Cost per Flow calculations
|  | Labels | Avg Daily Flow | Annual Flow Treated | Counted Flow | Counted Energy Cost | $/MG | Months Reporting
| Year |  | MGD | MG
| 1 | Aug 2017 - Jul 2018 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0
| 2 | Aug 2018 - Jul 2019 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0
| 3 | Aug 2019 - Jul 2020 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0
| 4 | Aug 2020 - Jul 2021 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0
| 5 | Aug 2021 - Jul 2022 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0
| 6 | Aug 2022 - Jul 2023 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0
| 7 | Aug 2023 - Jul 2024 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0
Summary of Cost per lb BOD calculations
|  | Labels | Avg BOD removal | Total BOD removal | Counted BOD removal | Counted Energy Cost | $/lb BOD | Months Reporting
| Year |  | lbs/d | lbs | lbs | $
| 1 | Aug 2017 - Jul 2018 |  | 0 | 0 | 0 | #DIV/0! | 0
| 2 | Aug 2018 - Jul 2019 |  | 0 | 0 | 0 | #DIV/0! | 0
| 3 | Aug 2019 - Jul 2020 |  | 0 | 0 | 0 | #DIV/0! | 0
| 4 | Aug 2020 - Jul 2021 |  | 0 | 0 | 0 | #DIV/0! | 0
| 5 | Aug 2021 - Jul 2022 |  | 0 | 0 | 0 | #DIV/0! | 0
| 6 | Aug 2022 - Jul 2023 |  | 0 | 0 | 0 | #DIV/0! | 0
| 7 | Aug 2023 - Jul 2024 |  | 0 | 0 | 0 | #DIV/0! | 0
Flow Summary Table Values
| Year | Label | Energy-paired Avg Flow | Energy-paired Total Flow (MG) | Flow-paired Monthly Energy Usage | kWh/MG | Flow-matched Energy $/month | Avg $/kWh (electric only) | $/MG | Energy savings | Avg Actual Electric Demand (kW) | Avg Billed Electric Demand (kW) | Avg Billed Electric Demand (kW) | Energy Cost Savings
| Unit |  | MGD |  | kWh-eq | kWh/MG |  |  |  | kWh-eq | kW | kW |  | $
| Baseline | Baseline: Aug 2017 - Jul 2019 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | #DIV/0! | #DIV/0! | N/A
| 3 | Aug 2019 - Jul 2020 | #DIV/0! | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 4 | Aug 2020 - Jul 2021 | #DIV/0! | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 5 | Aug 2021 - Jul 2022 | #DIV/0! | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 6 | Aug 2022 - Jul 2023 | #DIV/0! | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 7 | Aug 2023 - Jul 2024 | #DIV/0! | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Cumulative change | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
Cumulative Savings
BOD Summary Table Values
| Year | Label | Energy-paired BOD removal | Energy-paired Total BOD removal | BOD-paired Monthly Energy Usage | kWh/lb BOD | BOD-matched Energy $/month | Avg $/kWh (electric only) | $/lb BOD | Energy savings |  |  | Energy Cost Savings
| Unit |  | lbs/d | lbs/year | kWh-eq | kWh/lb BOD |  |  |  | kWh-eq |  |  | $
| Baseline | Baseline: Aug 2017 - Jul 2019 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A |  |  | N/A
| 3 | Aug 2019 - Jul 2020 | #DIV/0! | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
| 4 | Aug 2020 - Jul 2021 | #DIV/0! | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
| 5 | Aug 2021 - Jul 2022 | #DIV/0! | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
| 6 | Aug 2022 - Jul 2023 | #DIV/0! | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
| 7 | Aug 2023 - Jul 2024 | #DIV/0! | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | Cumulative change | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Cumulative Savings
Flow Efficiency Graph Values
| Year | Year | kWh/MG | overlap 1 | $/MG | overlap 2
| Baseline 1 | Aug 2017 - Jul 2018 | #DIV/0! | 0 | #DIV/0! | 0
| Baseline 2 | Aug 2018 - Jul 2019 | #DIV/0! | 0 | #DIV/0! | 0
| 3 | Aug 2019 - Jul 2020 | #DIV/0! | 0 | #DIV/0! | 0
| 4 | Aug 2020 - Jul 2021 | #DIV/0! | 0 | #DIV/0! | 0
| 5 | Aug 2021 - Jul 2022 | #DIV/0! | 0 | #DIV/0! | 0
| 6 | Aug 2022 - Jul 2023 | #DIV/0! | 0 | #DIV/0! | 0
| 7 | Aug 2023 - Jul 2024 | #DIV/0! | 0 | #DIV/0! | 0
BOD Efficiency Graph Values
| Year |  | kWh/lb BOD | overlap | $/lb BOD | overlap
| Baseline 1 | Aug 2017 - Jul 2018 | #DIV/0! | 0 | #DIV/0! | 0
| Baseline 2 | Aug 2018 - Jul 2019 | #DIV/0! | 0 | #DIV/0! | 0 | Current year?
| 3 | Aug 2019 - Jul 2020 | #DIV/0! | 0 | #DIV/0! | 0
| 4 | Aug 2020 - Jul 2021 | #DIV/0! | 0 | #DIV/0! | 0 | (to date)
| 5 | Aug 2021 - Jul 2022 | #DIV/0! | 0 | #DIV/0! | 0
| 6 | Aug 2022 - Jul 2023 | #DIV/0! | 0 | #DIV/0! | 0
| 7 | Aug 2023 - Jul 2024 | #DIV/0! | 0 | #DIV/0! | 0
Nutrient Summary Table
|  |  | Influent TN | Effluent NH3 | Effluent TKN | Avg Effluent TKN (mg/L) | Effluent NOx | Avg TN Removal (lbs/mo) | Approx TN removed (tons/year) | Approx. add'l removal TN over baseline (lbs) | Sufficient TN data to extrapolate? |  | Influent TP | Effluent TP | Avg TP removal (lbs/mo) | Approx. add'l TP removal over baseline (lbs/year) | Sufficient TP data to extrapolate?
| Baseline | Baseline: Aug 2017 - Jul 2019 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A |  |  | #DIV/0! | #DIV/0! | #DIV/0! | N/A
| 3 | Aug 2019 - Jul 2020 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Yes |  | #DIV/0! | #DIV/0! | #DIV/0! |  | Yes
| 4 | Aug 2020 - Jul 2021 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Yes |  | #DIV/0! | #DIV/0! | #DIV/0! |  | Yes
| 5 | Aug 2021 - Jul 2022 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Yes |  | #DIV/0! | #DIV/0! | #DIV/0! |  | Yes
| 6 | Aug 2022 - Jul 2023 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Yes |  | #DIV/0! | #DIV/0! | #DIV/0! |  | Yes
| 7 | Aug 2023 - Jul 2024 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Yes |  | #DIV/0! | #DIV/0! | #DIV/0! |  | Yes
|  | Cumulative change | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0
Formulas:
Monthly Flow = IF(Table4[[#This Row],[Avg Daily Flow]]="","",DAYS(EOMONTH([Column2],0),EOMONTH([Column2],-1))*[Avg Daily Flow])
Total BOD removed = IF(Table4[[#This Row],[BOD removed]]="","",Table4[[#This Row],[BOD removed]]*DAYS(EOMONTH(Table4[[#This Row],[Column2]],0),EOMONTH(Table4[[#This Row],[Column2]],-1)))
Note on AD3: Will show up as blank unless Influent TKN, effluent NOx and either effluent TKN or NH3 is populated.
Note on AB96: Column label based on whichever has more data populated, NH3 or TKN. Reported values are determined by column label. This is the value that is shown on the Effluent N chart.
Note on AD96: Only months with enough data to estimate N removal will be used to develop this estimate. Sufficient data must be entered at least quarterly.
Note on F154: Averages flow-paired monthly energy values for years 3-7, and compares to the baseline
Note on G154: Sums flow-paired energy and divides by energy-matched flow for years 3-7, and compares to baseline.
Note on F167: Averages BOD-paired monthly energy values for years 3-7, and compares to the baseline
Note on G167: Sums BOD-paired energy and divides by energy-matched flow for years 3-7, and compares to baseline.
Note on D196: Sum [avg TKN, avg NOx] for all available values (no match requirement)
Note on E196: No match requirement
Note on F196: No match requirement
Note on G196: Displays either TKN or NH3 depending on which has more data points
Note on H196: No match requirement
Note on I196: Only averages months that meet match requirement (influent TKN, plus effluent NOx and either effluent TKN or NH3)
Note on K196: Avg influent TN * Total Flow treated * actual % removal - baseline % removal)